## _readme
Lab map: data workbook
Row 1 is the column name: hover over it for an explanation. Row 2 is a short hint. Data starts on row 3.
Colours
required
optional
Red cell: duplicate ID, or an ID that doesn't exist on the sheet it points to.
Orange room cell: differs from its parent's room.
Suggested order: one walk-around each
0. Triage: list every piece of equipment (id, name, category, room on placeables) and fill plan / usage / condition on equipment. Decide what leaves BEFORE you spend time measuring it.
1. rooms: measure each room and draw its outline in rooms/<ID>.svg (copy rooms/_TEMPLATE.svg).
2. placeables: tape measure. Dimensions and clearances. Positions are optional: you can drag things into place in Inkscape later.
3. equipment: nameplates and people. Power, owner, usage.
4. circuits + services: the distribution board, then every socket, strip and tap.
5. links: which PC drives which instrument; cable and tubing limits.
6. items: drawer contents. Start with the ~50 things people hunt for, then grow on demand. Spare parts go here too: spare_for says which equipment, min_qty how many to keep, rs_part / buy_link where to order. checked = when you last saw it: the directory shows it beside the count.
Conventions
Units: centimetres, watts, kilograms. Whole numbers only: round to the nearest cm.
IDs: UPPERCASE letters, digits, - and . only. Never put the location in an ID (things move). Never reuse one.
Positions are in the parent's frame. In a room: x from the drawing's left edge, y from its top edge. On a bench: x from its left end as you face it, y from its back edge.
faces = which way the front points: N, NE, E, SE, S, SW, W or NW. N = top of the drawing, not compass north. For things on/in/under a parent, blank = same way as the parent.
Blank x and y = not placed yet: it appears in a staging area beside the room drawing, ready to drag in.
Tables, desks and open benches: free_under = clear height underneath. Blank = solid to the floor.
Stacking: anything can sit on anything (mount = on). Mark the lower one stackable = yes, or you get a warning.
settings sheet: the thresholds the checks use (walkway width, circuit limit, ...). Change them to match your rules.
keep_apart sheet: which tags (tags column on placeables) must be kept how far apart, e.g. vibrates / vibration-sensitive. Add your own rows.
Photos and SOPs aren't listed here: they're linked by file name (see docs/adding-things.md).
Full guide: README.md and the docs folder. Worked example: example/lab-data.xlsx.

## rooms
id | name | building | floor | width | depth | ceiling | shell | cooling | sprinklers | notes
e.g. LAB-A | human name |  |  | cm, left-right (x) | cm, top-bottom (y) | cm | file in rooms/ | W, if known | yes/no
Note on A1: Unique room ID. Uppercase letters, digits, - and . only. Goes on the door label.
Note on E1: Overall interior size along the drawing's x axis (left to right), cm. Irregular room: its bounding box.
Note on F1: Overall interior size along the drawing's y axis (top to bottom), cm. Irregular room: its bounding box.
Note on G1: Floor-to-ceiling height, cm. If it varies (beams, ducts), the lowest point.
Note on H1: Filename of the hand-drawn room outline in the rooms/ folder, e.g. LAB-A.svg.
Note on I1: Cooling capacity of the room's HVAC in W, if facilities know it. Compared against the total equipment heat load.
Note on J1: Sprinkler heads in the ceiling? Then nothing may reach higher than sprinkler_clearance (settings) below the ceiling.

## placeables
id | name | category | room | parent | mount | x | y | z | faces | shape | w | d | h | free_under | inner_w | inner_d | inner_h | inner_z | clear_front | clear_back | clear_left | clear_right | clear_top | door | fixed | mobile | stackable | fill | checked | decommissioned | tags | notes
BENCH-04, PED-01.D2 | what people call it | dropdown | dropdown | blank = in the room | dropdown | cm, parent frame | cm, parent frame | cm, wall mounts | blank = S | blank = rect | cm, along front | cm, front-back | cm | cm clear below | cm, inside | cm, inside | cm, inside | cm, work surface | cm | cm | cm, your left | cm, your right | cm, lids | hinge side | yes = can't move | yes = wheels | things on top? | % full | date | date it left | tags; separated; by ;
Note on A1: Unique ID, printed on the physical label. Must NOT encode location: things move. Parts and drawers: PARENT.suffix, e.g. BENCH-04.A, PED-01.D2. Never reuse an ID.
Note on C1: What kind of thing it is (lists sheet). Drives sensible defaults in the checks.
Note on D1: The room it's in. Required on every row, children too, so you can filter by room.
Note on E1: Blank for things standing in, or mounted on, the room itself. Otherwise the ID of what it sits on, under, in, or is part of.
Note on F1: floor = stands on the floor. wall = fixed to a wall at height z. on = on top of parent. under = on the floor beneath parent (under-bench fridge, PC tower, pedestal); must be no taller than the parent's free_under. in = inside parent, no position (drawer, cabinet shelf). part = piece of a composed parent (bench legs).
Note on G1: Parent origin to the nearest corner of this footprint, cm. In a room: from the left edge of the drawing. On a bench: from the bench's left end as you face it. Diagonal objects: the corner of their bounding box, so they're easier to drag in. Blank = not placed yet.
Note on H1: In a room: from the top edge of the drawing. On a bench: from the bench's back edge. Blank = not placed yet.
Note on I1: Height of the underside above the floor, cm. Required for mount = wall; otherwise leave blank (floor = 0, on = top of parent).
Note on J1: Which way the front (the side you use) points: N, NE, E, SE, S, SW, W or NW. Diagonals are for pieces along a chamfered corner. In a room: N = top of the drawing, not compass north. For children it's relative to the parent: blank = same way as the parent.
Note on K1: rect (default), circle (w = diameter), group (composed: its 'part' children carry the geometry), or @name for a profile drawn in shapes/name.svg.
Note on L1: Width along the front face. Circle: diameter. Drawers/shelves (mount = in): internal usable width. Blank for groups.
Note on M1: Depth front to back. Circle: same as w. Drawers/shelves: internal usable depth.
Note on N1: Height. Drawers/shelves: internal usable height. Workspace: headroom needed above the bench.
Note on O1: Tables, desks and open-frame benches: clear height underneath, from the floor to the underside of the top or its rail. Anything up to that height can go under it. Blank = solid to the floor (cupboard base, instrument).
Note on P1: Fume hoods, biosafety cabinets, gloveboxes, ovens: the working space inside, width along the front. Assumed centred left to right and flush with the front (the sash). Things can then be placed in it (mount = in, with x and y).
Note on Q1: Working space inside, front to back: from the sash to the rear baffle.
Note on R1: Working space inside, height above the work surface (up to the sash opening, for a fume hood).
Note on S1: Height of the inside work surface above the floor (above the object's underside), cm.
Note on T1: Must stay free in front: standing room, drawer pull-out, door swing. Applies in the plane it sits in: bench surface for things on a bench, floor for things on the floor.
Note on U1: Behind: ventilation, cables, hoses.
Note on V1: To your left as you face the front: hinge side, vents, access panels.
Note on W1: To your right as you face the front.
Note on X1: Headroom above: lids that open upwards, sashes, hot exhaust. Checked against shelves and the ceiling.
Note on Y1: Fridges, freezers, cabinets: which side the door is hinged on, as you face the front (left, right, both = double doors). The swing is kept clear in front. Something right beside the hinge is only a warning (the door still opens to 90 degrees): where you need more, measure it into clear_left or clear_right.
Note on Z1: yes = plumbing, structure or safety equipment. The layout must work around it.
Note on AA1: yes = carts, pedestals on castors. Its position is its parking spot.
Note on AB1: May other things sit on top? Blank = category default (bench, desk, table, shelf, cabinet, cart: yes; the rest: no).
Note on AC1: Containers only (drawer, shelf, cabinet, box): how full, 0-100, eyeballed. Finds consolidation opportunities.
Note on AD1: Containers: date the contents were last verified against the items sheet. Shown in the directory.
Note on AE1: Filled = it's gone. The row stays as a record (with its equipment row: asset tag, serial), but it's left out of the maps, the checks, the layout and the search. Its drawers and parts go with it. Anything still pointing at it is flagged, so nothing is left behind. Never reuse the ID.
Note on AF1: What it is or does, for the keep_apart sheet: vibrates, vibration-sensitive, emits-light, needs-dark, emi-source, emi-sensitive, heat-source, heat-sensitive, ignition-source, flammable, oxidiser, high-voltage, noisy, quiet. Its category counts as a tag too.

## equipment
id | maker | model | serial | asset_tag | owner | condition | plan | usage | usage_source | workflow | plugs | plug_type | watts_typ | watts_max | volts | critical | weight | outlet | needs | manual | notes
placeable ID |  |  | stored as text | stored as text | person or group | dropdown | dropdown | dropdown | dropdown | group tag | count | dropdown | W, typical | W, peak | V | yes = never off | kg, optional | blank = nearest | exhaust; gas:N2; ... | link or path
Note on A1: Must exist on the placeables sheet. One row per piece of equipment: anything with a plug, a booking, a serial number or an owner. Benches and drawers don't need a row.
Note on D1: Stored as text so Excel doesn't mangle long numbers.
Note on E1: Your institution's inventory number, if any. Stored as text so leading zeros survive.
Note on F1: Who is responsible for it / who to ask.
Note on H1: What happens to it in the reorganisation. Fill this FIRST: removing things beats rearranging them. new = arriving, needs a spot.
Note on I1: How often it is actually used.
Note on J1: How you know. tally = tally sheet on the instrument; booking = booking system or logs; estimate = someone's guess (least reliable).
Note on K1: Free tag for things that should stay near each other, e.g. sample-prep, imaging. The check reports how spread out each group is.
Note on L1: Number of mains plugs. Separately plugged units with their own footprint (pump, chiller) should be their own placeables.
Note on N1: Typical running power, W. If the nameplate only gives amps: W = V x A.
Note on O1: Nameplate or peak power, W. Motors and compressors spike at start-up.
Note on Q1: yes = must never lose power: freezers, incubators, long unattended runs. Flagged if it shares a circuit or RCD with heavy, intermittent loads.
Note on R1: For information only: shown in the directory, handy for moving day. Leave blank if you don't know.
Note on S1: Outlet or strip it's plugged into (services sheet). Blank = the check assumes the nearest one.
Note on T1: Services other than power it needs within utility_reach (settings), separated by ;: gas, vacuum, air, water, drain, network, exhaust. Add :medium to be specific, e.g. gas:N2. A link on the links sheet (gas-line, water-line, exhaust, ethernet) also counts.

## services
id | type | room | parent | x | y | z | circuit | fed_by | sockets | rating_a | socket_type | medium | notes
OUT-01, STRIP-01 | dropdown | dropdown | blank = on a wall | cm, parent frame | cm, parent frame | cm above floor | outlets | strips | count | A, strips/sockets | dropdown | gas taps etc.
Note on A1: Unique ID. Put it on a label next to the socket/tap too.
Note on D1: Blank = fixed to the room (wall, floor, ceiling). Otherwise the placeable it's mounted on, e.g. a bench service spine; it then moves with that bench.
Note on E1: Same frame as placeables: in a room from the drawing's left edge; on a bench from its left end as you face it.
Note on F1: In a room from the drawing's top edge; on a bench from its back edge.
Note on H1: Circuit ID from the circuits sheet. Outlets only: strips inherit it from fed_by.
Note on I1: Power strips: the outlet (or strip) it's plugged into. Strip-into-strip gets flagged.
Note on K1: Most current the socket or strip may carry, amps (often 13 A for a strip, 16 A or 10 A for a socket). A UPS: its VA rating ÷ volts. Blank = not checked; the circuit still is.
Note on M1: What comes out: N2, Ar, compressed air, vacuum, DI water, 10 GbE...

## circuits
id | panel | rating_a | volts | phase | rcd | backed | notes
e.g. DB2-C07 | board name | A | V | 1 or 3 | yes/no | dropdown
Note on A1: Circuit ID as written on the distribution board, prefixed with the board name.
Note on C1: Breaker rating, amps.
Note on F1: Protected by an RCD/GFCI? One trip takes out everything on it.
Note on G1: none, ups or generator.

## links
from | to | type | max_len | notes
ID | ID | dropdown | cm, blank = default
Note on A1: Usually the computer or supply end (PC, gas cylinder, chiller).
Note on B1: The instrument / consumer end.
Note on D1: Longest cable or tubing that works for this link, cm. Blank = default for the type (lists sheet).

## items
id | name | synonyms | container | elsewhere | qty | checked | min_qty | category | spare_for | rs_part | buy_link | owner | notes
I-0001 | what people call it | other names; separated; by ; | drawer/shelf/box ID | if not in these labs | optional | date you last saw it | spares: keep at least | dropdown | IDs; separated; by ; | e.g. 123-4567 | URL
Note on A1: Just number them. Not printed on labels; used to name photos (photos/I-0001.jpg).
Note on C1: Every other name people might search for: slang, brand names, other languages. This is what makes search work.
Note on D1: Where it lives: ID of a drawer, shelf, cabinet or box on the placeables sheet. Blank if it's kept outside these labs: fill elsewhere instead.
Note on E1: Only for things kept outside the mapped rooms, e.g. Main stores, cage 3. Shown as the location instead of a map.
Note on F1: Anything goes: 3, ~20, 2 boxes. For a required spare (min_qty filled), the first number is the stock count, and blank counts as none.
Note on G1: When you last counted it or saw it there. The directory shows it beside the count, so people know how old the number is: nobody logs what they take. Blank = the container's checked date, or failing that the day the workbook was last saved.
Note on H1: Fill this to make it a required spare: fewer in stock gives a warning, none in stock a louder one. Blank = not tracked.
Note on J1: Equipment this is a spare or replacement part for, separated by ;. It's listed under Spare parts on each of their pages.
Note on K1: RS Components stock number. The directory turns it into a link to RS.
Note on L1: Where to order it from, if not RS (or as well): a supplier or manufacturer page.

## documents
id | type | title | applies_to | status | filled | expires | approved_by | link | notes
COSHH-014, RA-003 | dropdown |  | IDs; separated; by ; | dropdown | date | date |  | URL or full file path
Note on A1: Unique ID, e.g. the form's own reference number.
Note on D1: Everything it covers: equipment, benches, rooms or sockets, separated by ;. It shows on each of their pages.
Note on E1: Anything other than approved is flagged as a warning.
Note on F1: When it was filled in or last reviewed.
Note on G1: When it runs out. Past it = problem; within expiry_warning_days (settings) = warning.
Note on I1: Where the form itself lives: a web link, or a full path to a file on a shared drive.

## keep_apart
tag | away_from | distance | level | why
e.g. vibrates | e.g. vibration-sensitive | cm | dropdown
vibrates | vibration-sensitive | 100 | warning | vacuum pumps, chillers and compressors shake probe stations, balances, microscopes and optics
emits-light | needs-dark | 200 | warning | stray light from solar simulators, lasers and lamps spoils dark and low-light measurements (dark I-V, PL, EQE): keep apart, or behind curtains or in a dark box
laser | door | 150 | warning | class 3B / 4 beams away from doorways, or behind interlocked curtains
emi-source | emi-sensitive | 150 | warning | motors, RF and high-voltage supplies couple noise into low-current measurements
ignition-source | flammable | 300 | problem | hotplates, furnaces, sparks and high voltage (corona) away from solvents
flammable | oxidiser | 300 | problem | flammables and oxidisers are stored apart, or in separate cabinets
heat-source | heat-sensitive | 50 | warning | samples, gloveboxes and fridges struggle next to furnaces, hotplates and lamp housings
noisy | quiet | 200 | warning | desks and write-up areas away from pumps and compressors
Note on A1: A tag used in the tags column of the placeables sheet, or a category (laser, door...).
Note on B1: The tag it has to be kept away from.
Note on C1: Closest the two may be, edge to edge on the plan, cm.
Note on D1: problem or warning.
Note on E1: Shown in the report.

## settings
setting | value | unit | what it means
walkway_width | 60 | cm | Narrowest gap that counts as a path from a door.
reach | 30 | cm | A clear zone this close to a path counts as reachable.
person_height | 200 | cm | Clear zones on the floor are kept free up to this height.
blocks_walking_below | 150 | cm | Anything whose solid part starts lower than this is in the way when walking.
circuit_limit | 80 | % | Running load allowed on a circuit, as a share of its breaker rating.
heavy_load | 1000 | W | Peak load that puts a critical device on the same circuit at risk.
grid | 5 | cm | Raster size for walkways and bench space. Smaller is finer but slower.
expiry_warning_days | 30 | days | Warn this long before a document on the documents sheet expires.
fit_margin | 2 | cm | Slack for measuring error and ventilation: under a bench, below the ceiling, through a door.
door_gap | 10 | cm | Kept free beside a door's hinge (door column) so it opens past 90 degrees.
utility_reach | 300 | cm | How far a gas, water, drain, vacuum, air, network or exhaust point may be (needs column).
sprinkler_clearance | 45 | cm | In rooms with sprinklers, nothing may reach higher than this below the ceiling.
sash_clearance | 15 | cm | Work inside a fume hood is kept at least this far behind the sash.
stock_check_days | 180 | days | Count the required spares (min_qty on the items sheet) at least this often.

## lists
category | meaning | mount | meaning | faces | meaning | shape | meaning | yesno | meaning | door | meaning | level | meaning | condition | meaning | plan | meaning | usage | meaning | usage_source | meaning | plug_type | meaning | service_type | meaning | item_category | meaning | backed | meaning | phase | meaning | doc_type | meaning | doc_status | meaning | link_type | default max_len, cm | ID prefix | used for
bench | worktop / lab bench | floor | stands on the room floor | N | front towards top of drawing | rect | w x d rectangle (default) | yes |  | left | hinged on your left as you face it | problem | something is wrong | working |  | keep | stays | daily |  | tally | tally sheet on the instrument | standard | normal wall-socket plug | outlet | wall or spine socket | tool |  | none | mains only | 1 |  | coshh | COSHH assessment | approved |  | usb | 500 | BENCH | bench / worktop
optical-table | optical table or breadboard: things stand on it | wall | fixed to a wall; needs z | NE | diagonal, top-right | circle | w = diameter | no |  | right | hinged on your right | warning | worth a look | faulty | works, with problems | relocate | moves within or between rooms | weekly |  | booking | booking system / logs | C13 | IEC C13/C14 into a PDU or UPS | strip | power strip / extension lead | consumable |  | ups | on a UPS | 3 |  | risk-assessment |  | pending | waiting for approval | usb3 | 300 | OPT | optical table / breadboard
desk | write-up or computer desk | on | on top of parent | E | towards the right | group | composed of 'part' children |  |  | both | double doors, hinged on both sides |  |  | broken | doesn't work | storage | to a store room | monthly |  | estimate | someone's guess | 16A | 16 A industrial | gas | gas tap | substrate | wafers, glass, ITO / FTO slides | generator | emergency generator |  |  | calibration | calibration certificate | draft |  | ethernet | 10000 | DESK | desk
table | free-standing table | under | beneath parent; fits its free_under | SE | diagonal, bottom-right | [8 empty] | unknown |  | dispose | to be decommissioned | yearly | a few times a year |  |  | 32A | 32 A industrial | vacuum | vacuum tap | optics | lenses, filters, fibres, mirrors |  |  |  |  | electrical-test | PAT / electrical safety test | withdrawn |  | serial | 1500 | TBL | table
cabinet | cupboard; solvent, acid or gas cabinet | in | inside parent: no position (drawer), or x/y inside a fume hood | S | towards the bottom (default) | [10 empty] | decommissioned | gone: kept as a record | never | not used in the last year |  |  | 3-phase | three-phase | air | compressed air | electronics | components, connectors, probe tips |  |  |  |  | service | service or maintenance record |  |  | gpib | 200 | CAB | cabinet
shelf | wall shelf or shelving unit | part | piece of a group parent | SW | diagonal, bottom-left | [10 empty] | new | arriving, needs a spot |  |  |  |  | hardwired | no plug, wired in | water | water tap | chemical | precursors, solvents: see the COSHH forms |  |  |  |  | other |  |  |  | video | 500 | SHELF | shelf / shelving unit
drawer | drawer (mount = in) |  |  | W | towards the left | [10 empty] | undecided | [5 empty] | none | no mains power | drain | drain | glassware | [9 empty] | coax | 500 | PED | drawer pedestal
pedestal | drawer unit, often on castors |  |  | NW | diagonal, top-left | [18 empty] | network | network port | spare-part | [9 empty] | triax | 300 | BOX | box, bin, tray
container | box, bin or tray holding items | [22 empty] | exhaust | extraction point / snorkel | cable | [9 empty] | fiber | 1000 | CART | cart / trolley
cart | trolley | [22 empty] | earth | clean earth / ground point | documentation | [9 empty] | hv-cable | 300 | SMU | source-measure unit
power-supply | DC or high-voltage supply, source-measure unit (SMU) | [24 empty] | other | [9 empty] | interlock | 1000 | PSU | power supply
measurement | oscilloscope, lock-in, LCR / impedance analyser, electrometer, logger | [34 empty] | gas-line |  | SCOPE | oscilloscope
probe-station | probe station, test fixture | [34 empty] | vacuum-line | 200 | LIA | lock-in amplifier
sun-simulator | solar simulator: xenon, LED or halogen | [34 empty] | cooling-line |  | PRB | probe station
laser | laser source: note its class in notes | [34 empty] | water-line |  | SUN | solar simulator
light-source | lamp, LED or monochromator source | [34 empty] | exhaust |  | LAS | laser
spectrometer | UV-Vis, PL, EQE / IPCE, FTIR, Raman | [34 empty] | other |  | LED | LED / lamp source
microscope | optical microscope, AFM, SEM | [36 empty] | SPEC | spectrometer
dark-box | light-tight measurement enclosure | [36 empty] | EQE | EQE / IPCE system
glovebox | inert-gas glovebox: give it inner_w/d/h/z | [36 empty] | MIC | microscope
fume-hood | fume hood or extraction cabinet | [36 empty] | DARK | dark box
vacuum-chamber | evaporator, sputter coater, ALD, vacuum oven | [36 empty] | GB | glovebox
vacuum-pump | rotary, scroll or turbo pump | [36 empty] | HOOD | fume hood
corona-box | corona charging box: high voltage, ozone | [36 empty] | EVAP | evaporator
spin-coater | spin coater | [36 empty] | SPUT | sputter coater
hotplate | hotplate, stirrer | [36 empty] | VAC | vacuum pump
oven | oven, furnace, annealing | [36 empty] | COR | corona box
chiller | recirculating chiller | [36 empty] | SPIN | spin coater
instrument | any other instrument or device | [36 empty] | HP | hotplate
computer | PC, controller | [36 empty] | OVEN | oven
monitor | screen | [36 empty] | FURN | furnace
ups | uninterruptible power supply | [36 empty] | CHIL | chiller
fridge | fridge: solvents, inks, samples | [36 empty] | CRYO | cryostat
freezer | freezer: precursors, samples | [36 empty] | PC | computer
gas-cylinder | gas cylinder | [36 empty] | MON | monitor
sink | sink bowl, drainer | [36 empty] | UPS | UPS
safety | eyewash, shower, extinguisher, spill kit, emergency stop | [36 empty] | FRG | fridge
structure | column, pipe boxing, radiator, electrical panel | [36 empty] | FRZ | freezer
door | door; clear_front = swing | [36 empty] | GAS | gas cylinder
window | mount = wall, z = sill height | [36 empty] | EYE | eyewash
workspace | working area that must stay clear | [36 empty] | COL | column
overhead | duct, beam, cable tray, light: mount = wall, z = underside | [36 empty] | PANEL | electrical panel
other | [37 empty] | DOOR | door
[38 empty] | WIN | window
[38 empty] | WS | workspace
[38 empty] | DUCT | duct / overhead
[38 empty] | OUT | outlet
[38 empty] | STRIP | power strip
[38 empty] | NET | network port
[38 empty] | GASTAP | gas tap
[38 empty] | EXH | extraction point
[38 empty] | EARTH | earth point
[38 empty] | X.A X.B | parts of a composed object
[38 empty] | X.D1 X.D2 | drawers, numbered from the top
[38 empty] | X.S1 X.S2 | shelves, numbered from the top
[38 empty] | I-0001 | items: just number them
Note on A1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on D1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on G1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on J1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on M1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on P1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on S1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on V1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on Y1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AB1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AE1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AH1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AK1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AN1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AQ1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AT1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AW1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AZ1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on BC1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.