## _readme
Lab map: data workbook
Row 1 is the column name: hover over it for an explanation. Row 2 is a short hint. Data starts on row 3.
Colours
required
optional
Red cell: duplicate ID, or an ID that doesn't exist on the sheet it points to.
Orange room cell: differs from its parent's room.
Suggested order: one walk-around each
0. Triage: list every piece of equipment (id, name, category, room on placeables) and fill plan / usage / condition on equipment. Decide what leaves BEFORE you spend time measuring it.
1. rooms: measure each room and draw its outline in rooms/<ID>.svg (copy rooms/_TEMPLATE.svg).
2. placeables: tape measure. Dimensions and clearances. Positions are optional: you can drag things into place in Inkscape later.
3. equipment: nameplates and people. Power, owner, usage.
4. circuits + services: the distribution board, then every socket, strip and tap.
5. links: which PC drives which instrument; cable and tubing limits.
6. items: drawer contents. Start with the ~50 things people hunt for, then grow on demand. Spare parts go here too: spare_for says which equipment, min_qty how many to keep, rs_part / buy_link where to order. checked = when you last saw it: the directory shows it beside the count.
Conventions
Units: centimetres, watts, kilograms. Whole numbers only: round to the nearest cm.
IDs: UPPERCASE letters, digits, - and . only. Never put the location in an ID (things move). Never reuse one.
Positions are in the parent's frame. In a room: x from the drawing's left edge, y from its top edge. On a bench: x from its left end as you face it, y from its back edge.
faces = which way the front points: N, NE, E, SE, S, SW, W or NW. N = top of the drawing, not compass north. For things on/in/under a parent, blank = same way as the parent.
Blank x and y = not placed yet: it appears in a staging area beside the room drawing, ready to drag in.
Tables, desks and open benches: free_under = clear height underneath. Blank = solid to the floor.
Stacking: anything can sit on anything (mount = on). Mark the lower one stackable = yes, or you get a warning.
settings sheet: the thresholds the checks use (walkway width, circuit limit, ...). Change them to match your rules.
keep_apart sheet: which tags (tags column on placeables) must be kept how far apart, e.g. vibrates / vibration-sensitive. Add your own rows.
Photos and SOPs aren't listed here: they're linked by file name (see docs/adding-things.md).
This is the worked EXAMPLE. Your own data goes in ../lab-data.xlsx.

## rooms
id | name | building | floor | width | depth | ceiling | shell | cooling | sprinklers | notes
e.g. LAB-A | human name |  |  | cm, left-right (x) | cm, top-bottom (y) | cm | file in rooms/ | W, if known | yes/no
LAB-A | Fabrication lab (EXAMPLE) | Building 1 | 2 | 720 | 540 | 270 | LAB-A.svg | 8000 | yes | EXAMPLE: plain rectangular room
LAB-B | Characterisation lab (EXAMPLE) | Building 1 | 2 | 780 | 600 | 280 | LAB-B.svg | 3000 | yes | EXAMPLE: L-shaped, chamfered corner, a column and a pilaster
Note on A1: Unique room ID. Uppercase letters, digits, - and . only. Goes on the door label.
Note on E1: Overall interior size along the drawing's x axis (left to right), cm. Irregular room: its bounding box.
Note on F1: Overall interior size along the drawing's y axis (top to bottom), cm. Irregular room: its bounding box.
Note on G1: Floor-to-ceiling height, cm. If it varies (beams, ducts), the lowest point.
Note on H1: Filename of the hand-drawn room outline in the rooms/ folder, e.g. LAB-A.svg.
Note on I1: Cooling capacity of the room's HVAC in W, if facilities know it. Compared against the total equipment heat load.
Note on J1: Sprinkler heads in the ceiling? Then nothing may reach higher than sprinkler_clearance (settings) below the ceiling.

## placeables
id | name | category | room | parent | mount | x | y | z | faces | shape | w | d | h | free_under | inner_w | inner_d | inner_h | inner_z | clear_front | clear_back | clear_left | clear_right | clear_top | door | fixed | mobile | stackable | fill | checked | decommissioned | tags | notes
BENCH-04, PED-01.D2 | what people call it | dropdown | dropdown | blank = in the room | dropdown | cm, parent frame | cm, parent frame | cm, wall mounts | blank = S | blank = rect | cm, along front | cm, front-back | cm | cm clear below | cm, inside | cm, inside | cm, inside | cm, work surface | cm | cm | cm, your left | cm, your right | cm, lids | hinge side | yes = can't move | yes = wheels | things on top? | % full | date | date it left | tags; separated; by ;
DOOR-01 | Main door | door | LAB-A |  | floor | 590 | 535 |  | N |  | 100 | 5 | 210 | [5 empty] | 100 | [5 empty] | yes | [6 empty] | clear_front = door swing
WIN-01 | Window, right wall | window | LAB-A |  | wall | 710 | 180 | 100 | W |  | 160 | 10 | 120 | [11 empty] | yes | [6 empty] | sill at 100 cm: benches fit under, tall units block it
COL-01 | Structural column | structure | LAB-A |  | floor | 0 | 220 |  |  |  | 30 | 30 | 270 | [11 empty] | yes | [6 empty] | pilaster on the left wall
PANEL-01 | Distribution board DB-2 | structure | LAB-A |  | wall | 705 | 380 | 120 | W |  | 60 | 15 | 80 | [5 empty] | 100 | [5 empty] | yes | [6 empty] | keep clear in front (check local rules)
EYE-01 | Eyewash station | safety | LAB-A |  | wall | 530 | 525 | 90 | N |  | 40 | 15 | 40 | [5 empty] | 100 | [5 empty] | yes | [6 empty] | must stay unobstructed
HOOD-01 | Fume hood | fume-hood | LAB-A |  | floor | 270 | 0 |  |  |  | 150 | 90 | 240 |  | 130 | 65 | 110 | 90 | 100 | [5 empty] | yes
HP-01 | Hotplate stirrer 1 | hotplate | LAB-A | HOOD-01 | in | 15 | 15 |  |  |  | 20 | 30 | 12 | [17 empty] | heat-source; ignition-source
HP-02 | Hotplate stirrer 2 | hotplate | LAB-A | HOOD-01 | in | 60 | 30 |  |  |  | 20 | 30 | 12 | [17 empty] | heat-source; ignition-source | EXAMPLE WARNING: 5 cm from the sash
BENCH-01 | Sink bench | bench | LAB-A |  | floor | 450 | 0 |  |  |  | 270 | 75 | 90 | [5 empty] | 90 | [5 empty] | yes | [6 empty] | fixed: plumbing; cupboard base, so nothing fits under it
BATH-01 | Ultrasonic bath, heated (substrate cleaning) | instrument | LAB-A | BENCH-01 | on | 10 | 10 |  |  |  | 50 | 35 | 30
FURN-01 | Split tube furnace | oven | LAB-A | BENCH-01 | on | 70 | 5 |  |  |  | 55 | 65 | 50 | [9 empty] | 40 | [7 empty] | heat-source; ignition-source | the split tube opens upwards: 40 cm above it
HYG-01 | Humidity and temperature logger | measurement | LAB-A | BENCH-01 | on | 130 | 10 |  |  |  | 25 | 20 | 15
SINK-01 | Sink bowl and tap | sink | LAB-A | BENCH-01 | on | 180 | 10 |  |  |  | 60 | 50 | 30 | [11 empty] | yes |  | no |  |  |  |  | an occupant, not a cutout: blocks this bit of bench top
BENCH-04 | Corner bench (L) | bench | LAB-A |  | floor | 0 | 0 |  |  | group | [21 empty] | geometry lives in its parts .A and .B
BENCH-04.A | Corner bench, long leg | bench | LAB-A | BENCH-04 | part | 0 | 0 |  |  |  | 240 | 60 | 90 | 88 |  |  |  |  | 90
BENCH-04.B | Corner bench, short leg | bench | LAB-A | BENCH-04 | part | 0 | 60 |  | E |  | 120 | 60 | 90 | 88 |  |  |  |  | 90 | [12 empty] | faces E: its front is the inside of the L
SPEC-01 | UV-Vis spectrophotometer | spectrometer | LAB-A | BENCH-04.A | on | 10 | 10 |  |  |  | 60 | 45 | 30 | [6 empty] | 10
UVO-01 | UV-ozone cleaner | instrument | LAB-A | BENCH-04.A | on | 80 | 5 |  |  |  | 50 | 55 | 35 | [7 empty] | 10 | 10 | 40 | [7 empty] | emits-light | EXAMPLE PROBLEM: open lid reaches 165 cm, SHELF-01 is at 150 cm
WS-01 | Working area | workspace | LAB-A | BENCH-04.A | on | 140 | 0 |  |  |  | 90 | 60 | 50 | [18 empty] | reserves bench top for actual work
PED-01 | Drawer pedestal | pedestal | LAB-A | BENCH-04.A | under | 185 | 5 |  |  |  | 45 | 50 | 60 | [5 empty] | 50 | [6 empty] | yes | [5 empty] | clear_front = drawer pull-out
PED-01.D1 | Top drawer | drawer | LAB-A | PED-01 | in | [5 empty] | 38 | 45 | 8 | [14 empty] | 60 | 2026-09-21
PED-01.D2 | Middle drawer | drawer | LAB-A | PED-01 | in | [5 empty] | 38 | 45 | 12 | [14 empty] | 90 | 2026-09-21
PED-01.D3 | Bottom drawer | drawer | LAB-A | PED-01 | in | [5 empty] | 38 | 45 | 25 | [14 empty] | 30
SPEC-02 | Old spectrophotometer | spectrometer | LAB-A | BENCH-04.B | on | 10 | 5 |  |  |  | 70 | 50 | 35 | [18 empty] | broken, plan = dispose: frees bench top
FRZ-02 | -20 freezer, precursor solutions (under bench) | freezer | LAB-A | BENCH-04.B | under | 10 | 0 |  |  |  | 60 | 55 | 85 | [5 empty] | 60 | [12 empty] | exactly as tall as the space under the bench
SHELF-01 | Wall shelf above corner bench | shelf | LAB-A |  | wall | 0 | 0 | 150 |  |  | 240 | 30 | 3
BOX-01 | Connectors box | container | LAB-A | SHELF-01 | on | 10 | 2 |  |  |  | 40 | 25 | 15 | [14 empty] | 50
BENCH-02 | Window bench | bench | LAB-A |  | floor | 645 | 180 |  | W |  | 180 | 75 | 90 | 80 |  |  |  |  | 90 | [12 empty] | under the window
BAL-01 | Analytical balance | instrument | LAB-A | BENCH-02 | on | 20 | 15 |  |  |  | 35 | 45 | 35 | [5 empty] | 30 | [11 empty] | vibration-sensitive | weighs precursors; vibration-sensitive
VORT-01 | Vortex mixer | instrument | LAB-A | BENCH-02 | on | 50 | 20 |  |  |  | 15 | 15 | 15 | [18 empty] | EXAMPLE PROBLEM: placed on top of BAL-01
BENCH-02.D1 | Bench drawer 1 | drawer | LAB-A | BENCH-02 | in | [5 empty] | 50 | 60 | 10 | [14 empty] | 40
BENCH-02.D2 | Bench drawer 2 | drawer | LAB-A | BENCH-02 | in | [5 empty] | 50 | 60 | 10 | [14 empty] | 75
FRG-01 | Under-bench fridge, inks and solvents (spark-free) | fridge | LAB-A | BENCH-02 | under | 60 | 5 |  |  |  | 55 | 55 | 85 | [5 empty] | 60 |  |  |  |  | left | [7 empty] | EXAMPLE PROBLEM: 85 cm tall, only 80 cm free under BENCH-02
VAC-01 | Rotary vane pump (vacuum oven) | vacuum-pump | LAB-A | BENCH-02 | under | 130 | 15 |  |  |  | 40 | 30 | 35 | [6 empty] | 10 | [10 empty] | vibrates; noisy; emi-source | noisy and warm
FRZ-01 | Chemicals freezer, upright (spark-free) | freezer | LAB-A |  | floor | 30 | 440 |  | N |  | 90 | 90 | 198 | [5 empty] | 100 | 10 | 5 | 5 |  | right | [7 empty] | 10 cm off the wall for ventilation
CAB-01 | Solvent cabinet (ventilated) | cabinet | LAB-A |  | floor | 140 | 480 |  | N |  | 100 | 60 | 230 | [5 empty] | 70 |  |  |  |  | both | [6 empty] | flammable | EXAMPLE PROBLEM: 230 cm tall, within 45 cm of a sprinklered ceiling
CAB-01.S1 | Top shelf | shelf | LAB-A | CAB-01 | in | [5 empty] | 95 | 55 | 40 | [14 empty] | 80
CAB-01.S2 | Shelf 2 | shelf | LAB-A | CAB-01 | in | [5 empty] | 95 | 55 | 40 | [14 empty] | 45 | 2026-09-21
DESK-01 | PC desk | desk | LAB-A |  | floor | 280 | 460 |  | N |  | 160 | 80 | 75 | 68 |  |  |  |  | 90
PC-01 | Spectrometer PC | computer | LAB-A | DESK-01 | under | 130 | 15 |  |  |  | 20 | 45 | 45
MON-01 | Monitor | monitor | LAB-A | DESK-01 | on | 50 | 10 |  |  |  | 60 | 20 | 45
WS-02 | Legroom | workspace | LAB-A | DESK-01 | under | 30 | 20 |  |  |  | 70 | 55 | 65 | [18 empty] | keeps the space under the desk free for legs
TBL-01 | Central table (I-V testing) | table | LAB-A |  | floor | 200 | 230 |  |  |  | 180 | 90 | 90 | 75 |  |  |  |  | 90 | 60 | [11 empty] | open frame: free_under 75
MIC-01 | Optical microscope | microscope | LAB-A | TBL-01 | on | 20 | 20 |  |  |  | 35 | 45 | 50 | [17 empty] | vibration-sensitive
LAP-02 | Microscope laptop | computer | LAB-A | TBL-01 | on | 70 | 25 |  |  |  | 35 | 25 | 3
SMU-01 | Source measure unit 1 | power-supply | LAB-A | TBL-01 | on | 120 | 20 |  |  |  | 21 | 45 | 9 | [13 empty] | yes |  |  |  | emi-sensitive | bottom of a stack of three
SMU-02 | Source measure unit 2 | power-supply | LAB-A | SMU-01 | on | 0 | 0 |  |  |  | 21 | 45 | 9 | [13 empty] | yes |  |  |  | emi-sensitive | stacked on SMU-01
SMU-03 | Source measure unit 3 | power-supply | LAB-A | SMU-02 | on | 0 | 0 |  |  |  | 21 | 45 | 9 | [17 empty] | emi-sensitive | top of the stack
BIN-01 | Waste bin | other | LAB-A |  | floor | 330 | 270 |  |  | circle | 35 | 35 | 60 | [18 empty] | not a child of TBL-01, but fits under it
CART-01 | Trolley | cart | LAB-A |  | floor | 440 | 300 |  |  |  | 80 | 50 | 90 | [12 empty] | yes | [5 empty] | position = parking spot
CART-02 | Waste trolley | cart | LAB-A |  | floor | 520 | 440 |  |  |  | 60 | 50 | 90 | [12 empty] | yes | [5 empty] | EXAMPLE PROBLEM: parked in the eyewash clear zone
GAS-01 | N2 cylinder | gas-cylinder | LAB-A |  | floor | 5 | 280 |  |  | circle | 23 | 23 | 150 | [18 empty] | chain to the wall
GAS-02 | Ar cylinder | gas-cylinder | LAB-A |  | floor | 5 | 308 |  |  | circle | 23 | 23 | 150
OVEN-02 | Vacuum oven (arriving) | oven | LAB-A |  | floor | [5 empty] | 70 | 70 | 90 | [5 empty] | 70 | [12 empty] | no x/y yet: lands in the staging area, drag it into place
DOOR-02 | Door | door | LAB-B |  | floor | 380 | 595 |  | N |  | 100 | 5 | 210 | [5 empty] | 100 | [5 empty] | yes | [6 empty] | clear_front = door swing
COL-02 | Structural column | structure | LAB-B |  | floor | 300 | 230 |  |  |  | 40 | 40 | 280 | [11 empty] | yes | [6 empty] | the island is notched around it
PIL-01 | Pilaster | structure | LAB-B |  | floor | 0 | 290 |  |  |  | 25 | 30 | 280 | [11 empty] | yes | [6 empty] | splits the raised tier of BENCH-13
BENCH-10 | Corner unit, 45 degree front | bench | LAB-B |  | floor | 0 | 0 |  |  | @corner-45 | 90 | 90 | 90 | [18 empty] | footprint + clearance come from shapes/corner-45.svg
LABEL-01 | Label printer | instrument | LAB-B | BENCH-10 | on | 10 | 10 |  |  |  | 20 | 20 | 15
BENCH-12 | Optics bench | bench | LAB-B |  | floor | 90 | 0 |  |  |  | 240 | 60 | 90 | 75 |  |  |  |  | 90
LAS-01 | Diode laser, 405 nm (class 3B) | laser | LAB-B | BENCH-12 | on | 20 | 10 |  |  |  | 40 | 40 | 45 | [17 empty] | emits-light
WS-03 | Working area | workspace | LAB-B | BENCH-12 | on | 80 | 0 |  |  |  | 100 | 60 | 50
PED-02 | Drawer pedestal | pedestal | LAB-B | BENCH-12 | under | 190 | 5 |  |  |  | 45 | 50 | 60 | [5 empty] | 50 | [6 empty] | yes
PED-02.D1 | Top drawer | drawer | LAB-B | PED-02 | in | [5 empty] | 38 | 45 | 8 | [14 empty] | 70 | 2026-09-21
PED-02.D2 | Middle drawer | drawer | LAB-B | PED-02 | in | [5 empty] | 38 | 45 | 12 | [14 empty] | 50
PED-02.D3 | Bottom drawer | drawer | LAB-B | PED-02 | in | [5 empty] | 38 | 45 | 25 | [14 empty] | 35
CAB-02 | Spares cabinet | cabinet | LAB-B |  | floor | 345 | 0 |  |  |  | 100 | 50 | 200 | [5 empty] | 70 |  |  |  |  | both
CAB-02.S1 | Top shelf | shelf | LAB-B | CAB-02 | in | [5 empty] | 95 | 45 | 45 | [14 empty] | 60
CAB-02.S2 | Shelf 2 | shelf | LAB-B | CAB-02 | in | [5 empty] | 95 | 45 | 45 | [14 empty] | 85 | 2026-09-21
CAB-02.S3 | Shelf 3 | shelf | LAB-B | CAB-02 | in | [5 empty] | 95 | 45 | 45 | [14 empty] | 20
BENCH-11 | Measurement bench (around the chamfer) | bench | LAB-B |  | floor | 460 | 0 |  |  | group | [21 empty] | three parts: straight run, diagonal piece (.B faces SW), straight run
BENCH-11.A | Measurement bench, top run | bench | LAB-B | BENCH-11 | part | 0 | 0 |  |  |  | 235 | 60 | 90 | 75 |  |  |  |  | 90
BENCH-11.B | Measurement bench, diagonal piece | bench | LAB-B | BENCH-11 | part | 235 | 18 |  | SW |  | 35 | 60 | 90 | 75 |  |  |  |  | 90 | [12 empty] | w along its front edge; x/y = corner of its bounding box, easier to drag in
BENCH-11.C | Measurement bench, right run | bench | LAB-B | BENCH-11 | part | 260 | 85 |  | W |  | 215 | 60 | 90 | 75 |  |  |  |  | 90
PRB-01 | Probe station | probe-station | LAB-B | BENCH-11.A | on | 10 | 5 |  |  |  | 45 | 55 | 90
SUN-01 | Solar simulator (xenon, class AAA) | sun-simulator | LAB-B | BENCH-11.A | on | 60 | 0 |  |  |  | 70 | 60 | 65 | [17 empty] | emits-light; heat-source
MON-02 | Monitor | monitor | LAB-B | BENCH-11.A | on | 140 | 5 |  |  |  | 55 | 20 | 45
WS-04 | Keyboard and notes | workspace | LAB-B | BENCH-11.A | on | 140 | 25 |  |  |  | 55 | 35 | 40
PC-02 | Measurement PC | computer | LAB-B | BENCH-11.A | under | 100 | 10 |  |  |  | 20 | 45 | 45
VAC-02 | Scroll pump (probe station) | vacuum-pump | LAB-B | BENCH-11.A | under | 10 | 10 |  |  |  | 45 | 35 | 30 | [17 empty] | vibrates; noisy | noisy
BOX-02 | Adapters tray (BNC, triax) | container | LAB-B | BENCH-11.B | on | 5 | 10 |  |  |  | 25 | 30 | 10 | [14 empty] | 40 |  |  |  | sits on the diagonal piece
PRN-01 | Printer | instrument | LAB-B | BENCH-11.C | on | 20 | 10 |  |  |  | 45 | 40 | 25
COR-01 | Corona charging box | corona-box | LAB-B | BENCH-11.C | on | 80 | 10 |  |  |  | 30 | 25 | 25 | [17 empty] | high-voltage; ignition-source; emi-source
WS-05 | Working area | workspace | LAB-B | BENCH-11.C | on | 120 | 0 |  |  |  | 80 | 60 | 50
SRV-01 | Data server | computer | LAB-B | BENCH-11.C | under | 10 | 5 |  |  |  | 45 | 50 | 60
N2G-01 | Nitrogen generator (for the glovebox) | instrument | LAB-B |  | floor | 710 | 395 |  | W |  | 45 | 70 | 75 | [18 empty] | EXAMPLE PROBLEM: straddles the wall into the missing corner
BENCH-13 | Cryostat bench (two-tier) | bench | LAB-B |  | floor | 0 | 150 |  |  | group | [21 empty] | worktop in front, 30 cm deep raised tier behind it
BENCH-13.A | Cryostat bench, worktop | bench | LAB-B | BENCH-13 | part | 30 | 0 |  | E |  | 300 | 60 | 90 | 75 |  |  |  |  | 90
BENCH-13.B | Cryostat bench, raised tier (upper) | bench | LAB-B | BENCH-13 | part | 0 | 0 |  | E |  | 140 | 30 | 120 | [18 empty] | solid to the floor
BENCH-13.C | Cryostat bench, raised tier (lower) | bench | LAB-B | BENCH-13 | part | 0 | 170 |  | E |  | 130 | 30 | 120 | [18 empty] | solid to the floor
CRYO-01 | Optical cryostat (closed cycle) | instrument | LAB-B | BENCH-13.A | on | 40 | 5 |  |  |  | 60 | 55 | 50 | [5 empty] | 30
MON-03 | Monitor | monitor | LAB-B | BENCH-13.A | on | 110 | 5 |  |  |  | 55 | 20 | 45
FTIR-01 | FTIR spectrometer | spectrometer | LAB-B | BENCH-13.A | on | 180 | 5 |  |  |  | 60 | 50 | 30
LAP-01 | FTIR laptop | computer | LAB-B | BENCH-13.A | on | 245 | 10 |  |  |  | 35 | 25 | 3
PC-03 | Cryostat PC | computer | LAB-B | BENCH-13.A | under | 110 | 10 |  |  |  | 20 | 45 | 45
BOX-03 | Reference cells box | container | LAB-B | BENCH-13.B | on | 20 | 3 |  |  |  | 40 | 25 | 20 | [14 empty] | 70
BOX-04 | Cryostat consumables box | container | LAB-B | BENCH-13.C | on | 10 | 3 |  |  |  | 50 | 25 | 15 | [14 empty] | 55
BENCH-14 | Island bench | bench | LAB-B |  | floor | 200 | 250 |  |  | group | [21 empty] | three parts: the middle one is shallower where COL-02 cuts in
BENCH-14.A | Island, left | bench | LAB-B | BENCH-14 | part | 0 | 0 |  |  |  | 100 | 90 | 90 | 75 |  |  |  |  | 90
BENCH-14.B | Island, notched middle | bench | LAB-B | BENCH-14 | part | 100 | 20 |  |  |  | 40 | 70 | 90 | 75 |  |  |  |  | 90
BENCH-14.C | Island, right | bench | LAB-B | BENCH-14 | part | 140 | 0 |  |  |  | 100 | 90 | 90 | 75 |  |  |  |  | 90
LED-01 | LED light source (white, 1 sun) | light-source | LAB-B | BENCH-14.A | on | 10 | 20 |  |  |  | 25 | 30 | 25 | [9 empty] | 15 | [7 empty] | emits-light
VORT-02 | Vortex mixer (sample prep) | instrument | LAB-B | BENCH-14.A | on | 45 | 30 |  |  |  | 15 | 15 | 15
DARK-01 | Dark box (low-light I-V) | dark-box | LAB-B | BENCH-14.C | on | 40 | 30 |  |  |  | 35 | 45 | 35 | [5 empty] | 30 | [11 empty] | needs-dark | EXAMPLE WARNING: 145 cm from the LED source
PED-03 | Drawer pedestal | pedestal | LAB-B | BENCH-14.C | under | 10 | 30 |  |  |  | 45 | 55 | 60 | [5 empty] | 50 | [6 empty] | yes
PED-03.D1 | Top drawer | drawer | LAB-B | PED-03 | in | [5 empty] | 38 | 45 | 8 | [14 empty] | 40
PED-03.D2 | Middle drawer | drawer | LAB-B | PED-03 | in | [5 empty] | 38 | 45 | 12 | [14 empty] | 65 | 2026-09-21
PED-03.D3 | Bottom drawer | drawer | LAB-B | PED-03 | in | [5 empty] | 38 | 45 | 25 | [14 empty] | 50
GAS-03 | He cylinder | gas-cylinder | LAB-B |  | floor | 5 | 465 |  |  | circle | 23 | 23 | 150 | [18 empty] | chain to the wall
GAS-04 | N2 cylinder (purge) | gas-cylinder | LAB-B |  | floor | 5 | 493 |  |  | circle | 23 | 23 | 150 | [18 empty] | chain to the wall
TBL-02 | Write-up table | table | LAB-B |  | floor | 120 | 520 |  | N |  | 160 | 80 | 75 | 68 |  |  |  |  | 90
WS-06 | Legroom | workspace | LAB-B | TBL-02 | under | 50 | 20 |  |  |  | 60 | 55 | 65
BIN-02 | Waste bin | other | LAB-B |  | floor | 245 | 555 |  |  | circle | 30 | 30 | 40 | [18 empty] | not a child of TBL-02, but fits under it
GB-01 | Glovebox (arriving) | glovebox | LAB-B |  | floor | [5 empty] | 180 | 105 | 190 | [5 empty] | 90 | [12 empty] | EXAMPLE WARNING: 105 cm deep, too big for a 100 cm door even on its side
DUCT-01 | Ventilation duct | overhead | LAB-B |  | wall | 100 | 0 | 240 |  |  | 300 | 40 | 30 | [11 empty] | yes | [6 empty] | overhead things are wall mounts with z = their underside
OVEN-01 | Drying oven | instrument | LAB-A |  | floor | [5 empty] | 60 | 55 | 80 | [16 empty] | 2026-06-30 |  | EXAMPLE: decommissioned, kept as a record
Note on A1: Unique ID, printed on the physical label. Must NOT encode location: things move. Parts and drawers: PARENT.suffix, e.g. BENCH-04.A, PED-01.D2. Never reuse an ID.
Note on C1: What kind of thing it is (lists sheet). Drives sensible defaults in the checks.
Note on D1: The room it's in. Required on every row, children too, so you can filter by room.
Note on E1: Blank for things standing in, or mounted on, the room itself. Otherwise the ID of what it sits on, under, in, or is part of.
Note on F1: floor = stands on the floor. wall = fixed to a wall at height z. on = on top of parent. under = on the floor beneath parent (under-bench fridge, PC tower, pedestal); must be no taller than the parent's free_under. in = inside parent, no position (drawer, cabinet shelf). part = piece of a composed parent (bench legs).
Note on G1: Parent origin to the nearest corner of this footprint, cm. In a room: from the left edge of the drawing. On a bench: from the bench's left end as you face it. Diagonal objects: the corner of their bounding box, so they're easier to drag in. Blank = not placed yet.
Note on H1: In a room: from the top edge of the drawing. On a bench: from the bench's back edge. Blank = not placed yet.
Note on I1: Height of the underside above the floor, cm. Required for mount = wall; otherwise leave blank (floor = 0, on = top of parent).
Note on J1: Which way the front (the side you use) points: N, NE, E, SE, S, SW, W or NW. Diagonals are for pieces along a chamfered corner. In a room: N = top of the drawing, not compass north. For children it's relative to the parent: blank = same way as the parent.
Note on K1: rect (default), circle (w = diameter), group (composed: its 'part' children carry the geometry), or @name for a profile drawn in shapes/name.svg.
Note on L1: Width along the front face. Circle: diameter. Drawers/shelves (mount = in): internal usable width. Blank for groups.
Note on M1: Depth front to back. Circle: same as w. Drawers/shelves: internal usable depth.
Note on N1: Height. Drawers/shelves: internal usable height. Workspace: headroom needed above the bench.
Note on O1: Tables, desks and open-frame benches: clear height underneath, from the floor to the underside of the top or its rail. Anything up to that height can go under it. Blank = solid to the floor (cupboard base, instrument).
Note on P1: Fume hoods, biosafety cabinets, gloveboxes, ovens: the working space inside, width along the front. Assumed centred left to right and flush with the front (the sash). Things can then be placed in it (mount = in, with x and y).
Note on Q1: Working space inside, front to back: from the sash to the rear baffle.
Note on R1: Working space inside, height above the work surface (up to the sash opening, for a fume hood).
Note on S1: Height of the inside work surface above the floor (above the object's underside), cm.
Note on T1: Must stay free in front: standing room, drawer pull-out, door swing. Applies in the plane it sits in: bench surface for things on a bench, floor for things on the floor.
Note on U1: Behind: ventilation, cables, hoses.
Note on V1: To your left as you face the front: hinge side, vents, access panels.
Note on W1: To your right as you face the front.
Note on X1: Headroom above: lids that open upwards, sashes, hot exhaust. Checked against shelves and the ceiling.
Note on Y1: Fridges, freezers, cabinets: which side the door is hinged on, as you face the front (left, right, both = double doors). The width it sweeps opening to 90 degrees is kept clear in front. Nothing is kept clear beside the hinge, so cupboards can stand in a row: where a door has to open further back, measure that into clear_left or clear_right.
Note on Z1: yes = plumbing, structure or safety equipment. The layout must work around it: it is locked in Inkscape and pull ignores moving it. One with no x and y yet isn't locked, so a new door or column can be dragged into place once.
Note on AA1: yes = carts, pedestals on castors. Its position is its parking spot.
Note on AB1: May other things sit on top? Blank = category default (bench, desk, table, shelf, cabinet, cart: yes; the rest: no).
Note on AC1: Containers only (drawer, shelf, cabinet, box): how full, 0-100, eyeballed. Finds consolidation opportunities.
Note on AD1: Containers: date the contents were last verified against the items sheet. Shown in the directory.
Note on AE1: Filled = it's gone. The row stays as a record (with its equipment row: asset tag, serial), but it's left out of the maps, the checks, the layout and the search. Its drawers and parts go with it. Anything still pointing at it is flagged, so nothing is left behind. Never reuse the ID.
Note on AF1: What it is or does, for the keep_apart sheet: vibrates, vibration-sensitive, emits-light, needs-dark, emi-source, emi-sensitive, heat-source, heat-sensitive, ignition-source, flammable, oxidiser, high-voltage, noisy, quiet. Its category counts as a tag too.

## equipment
id | maker | model | serial | asset_tag | owner | condition | plan | usage | usage_source | workflow | plugs | plug_type | watts_typ | watts_max | volts | critical | weight | outlet | needs | manual | notes
placeable ID |  |  | stored as text | stored as text | person or group | dropdown | dropdown | dropdown | dropdown | group tag | count | dropdown | W, typical | W, peak | V | yes = never off | kg, optional | blank = nearest | exhaust; gas:N2; ... | link or path
SPEC-01 | ExampleCo | UV-1000 | SN0012345 | 000456789 | Characterisation group | working | keep | weekly | booking | optical | 1 | standard | 150 | 300 | 230 | no | 25
SPEC-02 | ExampleCo | UV-500 |  | 000123001 | Characterisation group | broken | dispose | never | estimate | optical | 1 | standard |  |  | 230 |  | 30 |  |  |  | removing it frees 0.35 m2 of bench
UVO-01 | ExampleCo | UVO-42 |  | 000456790 | Fabrication group | working | keep | daily | tally | cleaning | 1 | standard | 350 | 1000 | 230 | no | 30 |  |  | manuals/UVO-01.pdf
BAL-01 | ExampleCo | Bal-220 |  |  | Fabrication group | working | keep | daily | tally | solution-prep | 1 | standard | 10 | 20 | 230 | no | 8
VORT-01 | ExampleCo | Vortex |  |  | Fabrication group | working | keep | daily | estimate | solution-prep | 1 | standard | 30 | 60 | 230 | no | 2
VAC-01 | ExampleCo | RV-5 |  |  | Fabrication group | working | keep | weekly | estimate | drying | 1 | standard | 370 | 900 | 230 | no | 20
FRZ-01 | ExampleCo | CF-300 |  |  | Facility | working | keep | daily | estimate | storage | 1 | standard | 800 | 1600 | 230 | yes | 300 | OUT-03 |  |  | on its own circuit
FRZ-02 | ExampleCo | UC-20 |  |  | Fabrication group | working | keep | daily | estimate | storage | 1 | standard | 150 | 400 | 230 | yes | 45 |  |  |  | EXAMPLE PROBLEM: shares circuit DB2-C07 with UVO-01
FRG-01 | ExampleCo | UC-4 |  |  | Fabrication group | working | relocate | daily | estimate | storage | 1 | standard | 100 | 300 | 230 | no | 35
HOOD-01 |  |  |  |  | Facility | working | keep | daily | estimate | solution-prep | 0 | hardwired |  |  |  | no |  |  |  |  | fan runs on the building exhaust
HP-01 | ExampleCo | HS-600 |  |  | Fabrication group | working | keep | daily | estimate | solution-prep | 1 | standard | 600 | 800 | 230 | no | 5 | OUT-05
HP-02 | ExampleCo | HS-600 |  |  | Fabrication group | working | keep | weekly | estimate | solution-prep | 1 | standard | 600 | 800 | 230 | no | 5 | OUT-05
FURN-01 | ExampleCo | TF-1200 |  |  | Fabrication group | working | keep | weekly | booking | annealing | 1 | standard | 2000 | 2400 | 230 | no | 45 | OUT-06 |  |  | EXAMPLE PROBLEM: with the hotplates and the bath it overloads DB2-C10
BATH-01 | ExampleCo | US-10H |  |  | Fabrication group | working | keep | weekly | estimate | cleaning | 1 | standard | 800 | 1000 | 230 | no | 12 | OUT-06
HYG-01 | ExampleCo | RH-Log |  |  | Fabrication group | working | keep | daily | tally | solution-prep | 1 | standard | 5 | 10 | 230 | no | 2
PC-01 | ExampleCo | Tower |  |  | Characterisation group | working | keep | daily | estimate | optical | 1 | standard | 120 | 300 | 230 | no | 10 | STRIP-01
MON-01 | ExampleCo | 24in |  |  | Characterisation group | working | keep | daily | estimate | optical | 1 | standard | 25 | 40 | 230 | no |  | STRIP-01
MIC-01 | ExampleCo | Scope-M |  |  | Imaging group | working | keep | weekly | booking | inspection | 1 | standard | 60 | 100 | 230 | no | 12 | STRIP-05
LAP-02 | ExampleCo | Laptop |  |  | Imaging group | working | keep | weekly | estimate | inspection | 1 | standard | 50 | 90 | 230 | no |  | STRIP-05
SMU-01 | ExampleCo | SMU-2400 |  |  | Electronics group | working | keep | weekly | booking | iv-testing | 1 | standard | 60 | 120 | 230 | no | 6 | STRIP-05 | earth
SMU-02 | ExampleCo | SMU-2400 |  |  | Electronics group | working | keep | weekly | booking | iv-testing | 1 | standard | 60 | 120 | 230 | no | 6 | STRIP-05
SMU-03 | ExampleCo | SMU-2400 |  |  | Electronics group | working | keep | monthly | booking | iv-testing | 1 | standard | 60 | 120 | 230 | no | 6 | STRIP-05
OVEN-02 | ExampleCo | VO-50 |  |  | Fabrication group |  | new | daily | estimate | drying | 1 | standard | 250 | 500 | 230 | no | 60 |  |  |  | arriving: needs a spot
PRB-01 | ExampleCo | PS-4 |  |  | Characterisation group | working | keep | daily | booking | device-testing | 1 | standard | 400 | 600 | 230 | no | 60 | STRIP-02
SUN-01 | ExampleCo | SS-150X |  |  | Characterisation group | working | keep | daily | booking | device-testing | 1 | standard | 1500 | 2000 | 230 | no | 110 | STRIP-02 | exhaust |  | the xenon lamp makes ozone: needs extraction
VAC-02 | ExampleCo | SC-15 |  |  | Characterisation group | working | keep | daily | estimate | device-testing | 1 | standard | 400 | 800 | 230 | no | 30 | STRIP-02
PC-02 | ExampleCo | Tower |  |  | Characterisation group | working | keep | daily | estimate | device-testing | 1 | standard | 120 | 300 | 230 | no | 10 | STRIP-02 | network
MON-02 | ExampleCo | 24in |  |  | Characterisation group | working | keep | daily | estimate | device-testing | 1 | standard | 25 | 40 | 230 | no |  | STRIP-02
LAS-01 | ExampleCo | DL-405 |  |  | Characterisation group | working | keep | weekly | estimate | photoluminescence | 1 | standard | 300 | 500 | 230 | no | 15
COR-01 | ExampleCo | CC-30 |  |  | Characterisation group | working | keep | weekly | estimate | device-testing | 1 | standard | 100 | 150 | 230 | no | 6 | STRIP-03
PRN-01 | ExampleCo | Inkjet |  |  | Characterisation group | working | keep | weekly | estimate |  | 1 | standard | 30 | 60 | 230 | no |  | STRIP-03
SRV-01 | ExampleCo | Server |  |  | Characterisation group | working | keep | daily | estimate |  | 1 | standard | 200 | 400 | 230 | no | 15 | OUT-10
N2G-01 | ExampleCo | Gen-N2 |  |  | Characterisation group | working | keep | daily | estimate | glovebox | 1 | standard | 600 | 1200 | 230 | no | 70 | OUT-10
CRYO-01 | ExampleCo | CC-4K |  |  | Characterisation group | working | keep | weekly | booking | low-temperature | 1 | standard | 800 | 2000 | 230 | no | 50 | OUT-11 | gas:He; gas:N2
PC-03 | ExampleCo | Tower |  |  | Characterisation group | working | keep | weekly | estimate | low-temperature | 1 | standard | 120 | 300 | 230 | no | 10 | STRIP-04
MON-03 | ExampleCo | 24in |  |  | Characterisation group | working | keep | weekly | estimate | low-temperature | 1 | standard | 25 | 40 | 230 | no |  | STRIP-04
FTIR-01 | ExampleCo | IR-4 |  |  | Characterisation group | faulty | undecided | monthly | booking |  | 1 | standard | 150 | 250 | 230 | no | 35 | OUT-11 |  |  | faulty: repair or replace?
LAP-01 | ExampleCo | Laptop |  |  | Characterisation group | working | keep | monthly | estimate |  | 1 | standard | 50 | 90 | 230 | no |  | STRIP-04
LABEL-01 | ExampleCo | Label-P |  |  | Characterisation group | working | keep | daily | estimate |  | 1 | standard | 20 | 40 | 230 | no
LED-01 | ExampleCo | LED-1S |  |  | Characterisation group | working | keep | daily | tally | device-testing | 1 | standard | 200 | 400 | 230 | no | 6
VORT-02 | ExampleCo | Vortex |  |  | Characterisation group | working | keep | daily | estimate | sample-prep | 1 | standard | 30 | 60 | 230 | no | 2
DARK-01 | ExampleCo | DB-2 |  |  | Characterisation group | working | keep | daily | tally | device-testing | 1 | standard | 10 | 20 | 230 | no | 8
OVEN-01 | ExampleCo | Dry-60 |  | 000456100 | Fabrication group | broken | decommissioned |  |  |  | 1 | standard | 1200 | [7 empty] | left 2026-06-30, collected by the WEEE contractor
GB-01 | ExampleCo | Glove-2 |  |  | Fabrication group |  | new |  |  |  | 1 | standard | 300 | 600 | 230 |  | 250
Note on A1: Must exist on the placeables sheet. One row per piece of equipment: anything with a plug, a booking, a serial number or an owner. Benches and drawers don't need a row.
Note on D1: Stored as text so Excel doesn't mangle long numbers.
Note on E1: Your institution's inventory number, if any. Stored as text so leading zeros survive.
Note on F1: Who is responsible for it / who to ask.
Note on H1: What happens to it in the reorganisation. Fill this FIRST: removing things beats rearranging them. new = arriving, needs a spot.
Note on I1: How often it is actually used.
Note on J1: How you know. tally = tally sheet on the instrument; booking = booking system or logs; estimate = someone's guess (least reliable).
Note on K1: Free tag for things that should stay near each other, e.g. sample-prep, imaging. The check reports how spread out each group is.
Note on L1: Number of mains plugs. Separately plugged units with their own footprint (pump, chiller) should be their own placeables.
Note on N1: Typical running power, W. If the nameplate only gives amps: W = V x A.
Note on O1: Nameplate or peak power, W. Motors and compressors spike at start-up.
Note on Q1: yes = must never lose power: freezers, incubators, long unattended runs. Flagged if it shares a circuit or RCD with heavy, intermittent loads.
Note on R1: For information only: shown in the directory, handy for moving day. Leave blank if you don't know.
Note on S1: Outlet or strip it's plugged into (services sheet). Blank = the check assumes the nearest one.
Note on T1: Services other than power it needs within utility_reach (settings), separated by ;: gas, vacuum, air, water, drain, network, exhaust. Add :medium to be specific, e.g. gas:N2. A link on the links sheet (gas-line, water-line, exhaust, ethernet) also counts.

## services
id | type | room | parent | x | y | z | circuit | fed_by | sockets | rating_a | socket_type | medium | notes
OUT-01, STRIP-01 | dropdown | dropdown | blank = on a wall | cm, parent frame | cm, parent frame | cm above floor | outlets | strips | count | A, strips/sockets | dropdown | gas taps etc.
OUT-01 | outlet | LAB-A |  | 120 | 0 | 105 | DB2-C07 |  | 2 |  | standard |  | above the corner bench
OUT-02 | outlet | LAB-A | BENCH-02 | 90 | 0 | 100 | DB2-C08 |  | 4 |  | standard |  | on the bench service spine: moves with BENCH-02
OUT-03 | outlet | LAB-A |  | 75 | 540 | 30 | DB2-C09 |  | 1 |  | standard |  | dedicated freezer socket
OUT-04 | outlet | LAB-A |  | 360 | 540 | 30 | DB2-C07 |  | 2 |  | standard |  | behind the desk
OUT-05 | outlet | LAB-A | HOOD-01 | 140 | 10 | 100 | DB2-C10 |  | 4 |  | standard |  | fume hood service panel
OUT-06 | outlet | LAB-A |  | 560 | 0 | 105 | DB2-C10 |  | 4 | 10 | standard |  | EXAMPLE PROBLEM: a 10 A socket with the tube furnace on it
OUT-07 | outlet | LAB-A | TBL-01 | 90 | 45 | 0 | DB2-C11 |  | 2 |  | standard |  | floor box under the table
STRIP-01 | strip | LAB-A | DESK-01 | 20 | 5 | 0 |  | OUT-04 | 6 | 13 | standard |  | under the desk
STRIP-05 | strip | LAB-A | TBL-01 | 110 | 45 | 0 |  | OUT-07 | 6 | 13 | standard |  | table strip for the microscope and the SMU stack
NET-01 | network | LAB-A |  | 340 | 540 | 30 |  |  | 2 |  |  | 1 GbE
OUT-08 | outlet | LAB-B |  | 200 | 0 | 105 | DB3-C01 |  | 4 |  | standard |  | above the optics bench
OUT-09 | outlet | LAB-B |  | 560 | 0 | 105 | DB3-C02 |  | 4 |  | standard |  | UPS-backed, above the solar simulator
OUT-10 | outlet | LAB-B | BENCH-11.C | 100 | 0 | 100 | DB3-C03 |  | 2 |  | standard |  | bench service spine
OUT-11 | outlet | LAB-B | BENCH-13.B | 60 | 0 | 130 | DB3-C04 |  | 4 |  | standard |  | on the raised tier
OUT-12 | outlet | LAB-B | BENCH-14.C | 20 | 0 | 100 | DB3-C01 |  | 4 |  | standard |  | island service spine
OUT-13 | outlet | LAB-B |  | 200 | 600 | 30 | DB3-C05 |  | 2 |  | standard |  | by the write-up table
STRIP-02 | strip | LAB-B | BENCH-11.A | 50 | 10 | 0 |  | OUT-09 | 6 | 13 | standard |  | under the measurement bench
STRIP-03 | strip | LAB-B | BENCH-11.C | 20 | 10 | 0 |  | STRIP-02 | 4 |  | standard |  | EXAMPLE PROBLEM: plugged into another strip
STRIP-04 | strip | LAB-B | BENCH-13.A | 120 | 10 | 0 |  | OUT-11 | 6 | 13 | standard |  | under the cryostat bench
NET-02 | network | LAB-B |  | 300 | 0 | 30 |  |  | 2 |  |  | 1 GbE
NET-03 | network | LAB-B |  | 620 | 0 | 30 |  |  | 4 |  |  | 1 GbE
EXH-01 | exhaust | LAB-B |  | 100 | 0 | 200 | [5 empty] | snorkel | the only extraction point in LAB-B
EARTH-01 | earth | LAB-A | TBL-01 | 150 | 45 | 0 | [5 empty] | clean earth bar | under the I-V table, for the SMUs
Note on A1: Unique ID. Put it on a label next to the socket/tap too.
Note on D1: Blank = fixed to the room (wall, floor, ceiling). Otherwise the placeable it's mounted on, e.g. a bench service spine; it then moves with that bench.
Note on E1: Same frame as placeables: in a room from the drawing's left edge; on a bench from its left end as you face it.
Note on F1: In a room from the drawing's top edge; on a bench from its back edge.
Note on H1: Circuit ID from the circuits sheet. Outlets only: strips inherit it from fed_by.
Note on I1: Power strips: the outlet (or strip) it's plugged into. Strip-into-strip gets flagged.
Note on K1: Most current the socket or strip may carry, amps (often 13 A for a strip, 16 A or 10 A for a socket). A UPS: its VA rating ÷ volts. Blank = not checked; the circuit still is.
Note on M1: What comes out: N2, Ar, compressed air, vacuum, DI water, 10 GbE...

## circuits
id | panel | rating_a | volts | phase | rcd | backed | notes
e.g. DB2-C07 | board name | A | V | 1 or 3 | yes/no | dropdown
DB2-C07 | DB-2 | 16 | 230 | 1 | yes | none | sockets on the top and bottom walls
DB2-C08 | DB-2 | 16 | 230 | 1 | yes | none | window bench spine
DB2-C09 | DB-2 | 16 | 230 | 1 | yes | generator | dedicated freezer circuit
DB2-C10 | DB-2 | 16 | 230 | 1 | yes | none | hood panel and sink bench
DB2-C11 | DB-2 | 16 | 230 | 1 | yes | none | table floor box
DB3-C01 | DB-3 | 16 | 230 | 1 | yes | none | optics bench and island
DB3-C02 | DB-3 | 16 | 230 | 1 | yes | ups | measurement bench, on the building UPS
DB3-C03 | DB-3 | 16 | 230 | 1 | yes | none | right-hand bench spine
DB3-C04 | DB-3 | 16 | 230 | 1 | yes | none | cryostat bench
DB3-C05 | DB-3 | 16 | 230 | 1 | yes | none | write-up area
Note on A1: Circuit ID as written on the distribution board, prefixed with the board name.
Note on C1: Breaker rating, amps.
Note on F1: Protected by an RCD/GFCI? One trip takes out everything on it.
Note on G1: none, ups or generator.

## links
from | to | type | max_len | notes
ID | ID | dropdown | cm, blank = default
PC-01 | SPEC-01 | usb | 500 | EXAMPLE PROBLEM: about 8 m of cable by any sensible route
PC-01 | BAL-01 | serial |  | blank max_len = type default (15 m)
PC-01 | MON-01 | video
GAS-01 | HOOD-01 | gas-line | 1000 | links are not only cables: tubing counts too
LAP-02 | MIC-01 | usb
LAP-02 | SMU-01 | usb
SMU-01 | SMU-02 | gpib |  | GPIB daisy chain
SMU-02 | SMU-03 | gpib |  | GPIB daisy chain
PC-02 | PRB-01 | triax |  | low-current measurement leads to the probes
PC-02 | SUN-01 | usb
PC-02 | MON-02 | video
VAC-02 | PRB-01 | vacuum-line | 300 | vacuum chuck
N2G-01 | GB-01 | gas-line | 1500 | for the glovebox when it arrives
LAS-01 | PRB-01 | fiber |  | laser light to the probe station
PC-03 | CRYO-01 | ethernet
PC-03 | MON-03 | video
GAS-03 | CRYO-01 | gas-line | 1000 | helium for the cold head
GAS-04 | CRYO-01 | gas-line | 1000 | N2 purge of the window
LAP-01 | FTIR-01 | usb
Note on A1: Usually the computer or supply end (PC, gas cylinder, chiller).
Note on B1: The instrument / consumer end.
Note on D1: Longest cable or tubing that works for this link, cm. Blank = default for the type (lists sheet).

## items
id | name | synonyms | container | elsewhere | qty | checked | min_qty | category | spare_for | rs_part | buy_link | owner | notes
I-0001 | what people call it | other names; separated; by ; | drawer/shelf/box ID | if not in these labs | optional | date you last saw it | spares: keep at least | dropdown | IDs; separated; by ; | e.g. 123-4567 | URL
I-0001 | Hex key set 1.5-10 mm | allen key; hex wrench; inbus | PED-01.D2 |  | 1 | 2026-09-21 |  | tool
I-0002 | Screwdriver set | screwdrivers; phillips; flathead; slotted | PED-01.D2 |  | 1 |  |  | tool
I-0003 | Parafilm | sealing film; lab film; wax film | PED-01.D1 |  | 3 rolls |  |  | consumable
I-0004 | Spare fuses, 10 A | fuse; fuses | BENCH-02.D1 |  | 5 | 2026-09-21 | 2 | spare-part | UVO-01 | 000-0101 |  |  | EXAMPLE part number
I-0005 | USB A-B cables, 3 m | printer cable; usb-b | BOX-01 |  | 4 |  |  | cable
I-0006 | UV lamp for the UV-ozone cleaner (spare) | uv lamp; ozone lamp; low-pressure mercury lamp | CAB-01.S2 |  | 1 | 2026-09-21 | 1 | spare-part | UVO-01
I-0007 | Nitrile gloves, size M | gloves | CAB-01.S1 |  | 10 boxes |  |  | consumable |  |  | https://www.example.com/gloves/nitrile-m
I-0008 | Instrument manuals | manual; binders; documentation | CAB-01.S1 |  |  |  |  | documentation
I-0009 | Pipette tips 200 µL | tips; yellow tips | PED-01.D1 |  | 5 racks |  |  | consumable
I-0010 | Pipette tips 1000 µL | tips; blue tips | PED-01.D1 |  | 5 racks |  |  | consumable
I-0011 | Weighing boats | weigh boats; weighing dishes | BENCH-02.D2 |  | 1 box |  |  | consumable
I-0012 | Spatulas | spatula; scoop | BENCH-02.D2 |  | 6 |  |  | tool
I-0013 | Balance calibration weights | calibration weight; test weights; check weights | BENCH-02.D1 |  | 1 set |  |  | tool |  |  |  |  | for BAL-01
I-0014 | Desiccant packs | silica gel; desiccant | CAB-01.S2 |  | 3 bags |  |  | consumable |  |  |  |  | for the substrate boxes
I-0015 | Magnetic stir bars | stirrer bars; flea; stir fleas | PED-01.D3 |  | ~30 |  |  | consumable
I-0016 | Stir bar retriever | magnet wand; flea catcher | PED-01.D3 |  | 1 |  |  | tool
I-0017 | Quartz boats | boats; combustion boats; crucibles | PED-01.D1 |  | 4 |  |  | consumable |  |  |  |  | for FURN-01
I-0018 | Heat-resistant gloves | oven gloves; furnace gloves; thermal gloves | CAB-01.S1 |  | 2 pairs |  |  | tool
I-0019 | Glass substrates 25 × 25 mm | glass slides; substrates; soda-lime glass | CAB-01.S2 |  | 2 boxes | 2026-09-18 |  | substrate
I-0020 | ITO substrates 25 × 25 mm | ito; ito glass; indium tin oxide; substrates | CAB-01.S2 |  | 3 boxes | 2026-09-18 |  | substrate
I-0021 | Lens paper | lens tissue | PED-01.D3 |  | 2 packs |  |  | consumable |  |  |  |  | for MIC-01
I-0022 | Cable ties | zip ties; tie wraps | BOX-01 |  | 1 bag |  |  | consumable |  | 000-0105 |  |  | EXAMPLE part number
I-0023 | Electrical tape | insulating tape; pvc tape | BOX-01 |  | 2 |  |  | consumable
I-0024 | Multimeter | voltmeter; dmm | BOX-01 |  | 1 |  |  | tool |  | 000-0104 |  |  | EXAMPLE part number
I-0025 | Vacuum pump oil | pump oil | BENCH-02.D2 |  | 1 L | 2026-06-02 | 1 | spare-part | VAC-01 | 000-0102 |  |  | EXAMPLE part number
I-0026 | Sample storage boxes | membrane boxes; wafer boxes; sample boxes | PED-02.D1 |  | 3 boxes |  |  | consumable
I-0027 | Kapton tape | polyimide tape; kapton | PED-02.D1 |  | 4 |  |  | consumable
I-0028 | Silver paste | conductive paste; silver epoxy; contact paste | PED-02.D2 |  | 2 | 2026-04-09 |  | consumable
I-0029 | Indium wire | indium; contact wire | PED-02.D2 |  | 1 spool |  |  | consumable
I-0030 | Xenon lamp 150 W (spare) | arc lamp; xe lamp; solar simulator lamp | CAB-02.S1 |  | 1 | 2026-08-03 | 1 | spare-part | SUN-01 |  | https://www.example.com/lamps/xenon-150
I-0031 | Probe tips, tungsten | probe needles; tips; tungsten tips | CAB-02.S1 |  | 2 | 2026-01-15 | 4 | spare-part | PRB-01 |  |  |  | EXAMPLE WARNINGS: 2 left, keep at least 4; and not counted since January
I-0032 | Reference solar cell (calibrated) | reference cell; calibration cell; si reference | CAB-02.S2 |  | 1 |  |  | tool |  |  |  |  | for SUN-01: irradiance calibration
I-0033 | BNC to triax adapters | triax; bnc; adapters | BOX-02 |  | 4 |  |  | electronics | PRB-01
I-0034 | BNC coax cables | bnc cables; coaxial cables; coax | BOX-02 |  | 1 bag |  |  | cable | PRB-01; SUN-01
I-0035 | Cryogenic grease | apiezon; vacuum grease; n grease; thermal grease | BOX-04 |  | 2 |  |  | consumable |  |  |  |  | for CRYO-01
I-0036 | Cold-head O-rings | o-rings; seals; o ring | BOX-04 |  | 0 | 2026-09-10 | 5 | spare-part | CRYO-01 | 000-0103 |  |  | EXAMPLE WARNING: none left
I-0037 | Cryostat window, quartz (spare) | optical window; quartz window | CAB-02.S3 |  | 1 | 2026-09-10 | 1 | spare-part | CRYO-01
I-0038 | Indium foil | indium; thermal contact foil | BOX-04 |  | 20 | 2026-09-10 | 10 | spare-part | CRYO-01
I-0039 | Gas leak detector | leak detector; leak checker | PED-03.D1 |  | 1 |  |  | tool
I-0040 | Tweezers | forceps | PED-03.D1 |  | 3 |  |  | tool
I-0041 | ATR cleaning wipes | lens wipes; kimwipes; tissues | PED-03.D2 |  | 2 boxes |  |  | consumable |  |  |  |  | for FTIR-01
I-0042 | Neutral density filters | nd filters; attenuators; filters | BOX-03 |  | 1 set |  |  | optics
I-0043 | Shadow masks, 0.1 cm² cells | masks; aperture masks; evaporation masks | PED-03.D2 |  | 2 sets |  |  | tool
I-0044 | Substrate racks (PTFE) | racks; cleaning racks; teflon racks | PED-03.D3 |  | 6 |  |  | tool
I-0045 | Label printer tape | labels; label cassette | PED-02.D3 |  | 3 |  |  | consumable |  |  |  |  | for LABEL-01
I-0046 | Printer paper | paper; a4 | CAB-02.S3 |  | 2 reams |  |  | consumable
I-0047 | Spare network cables | ethernet cable; patch cable; lan cable | PED-02.D3 |  | 5 |  |  | cable
I-0048 | USB drives | usb stick; memory stick; flash drive | PED-03.D1 |  | 3 |  |  | other
I-0049 | Wrench set | spanners; open-end wrench | PED-02.D3 |  | 1 |  |  | tool
I-0050 | Nitrogen generator filters (spare) | n2 filter; generator filter |  | Main stores, building 2, cage 3 | 2 | 2026-07-14 | 1 | spare-part | N2G-01 |  | https://www.example.com/n2-generator/filter-kit |  | kept outside the lab
I-0051 | Oven door seal | gasket; door gasket | CAB-01.S2 |  | 1 |  |  | spare-part | OVEN-01 |  |  |  | EXAMPLE WARNING: a spare for an oven that's gone
Note on A1: Just number them. Not printed on labels; used to name photos (photos/I-0001.jpg).
Note on C1: Every other name people might search for: slang, brand names, other languages. This is what makes search work.
Note on D1: Where it lives: ID of a drawer, shelf, cabinet or box on the placeables sheet. Blank if it's kept outside these labs: fill elsewhere instead.
Note on E1: Only for things kept outside the mapped rooms, e.g. Main stores, cage 3. Shown as the location instead of a map.
Note on F1: Anything goes: 3, ~20, 2 boxes. For a required spare (min_qty filled), the first number is the stock count, and blank counts as none.
Note on G1: When you last counted it or saw it there. The directory shows it beside the count, so people know how old the number is: nobody logs what they take. Blank = the container's checked date, or failing that the day the workbook was last saved.
Note on H1: Fill this to make it a required spare: fewer in stock gives a warning, none in stock a louder one. Blank = not tracked.
Note on J1: Equipment this is a spare or replacement part for, separated by ;. It's listed under Spare parts on each of their pages.
Note on K1: RS Components stock number. The directory turns it into a link to RS.
Note on L1: Where to order it from, if not RS (or as well): a supplier or manufacturer page.

## documents
id | type | title | applies_to | status | filled | expires | approved_by | link | notes
COSHH-014, RA-003 | dropdown |  | IDs; separated; by ; | dropdown | date | date |  | URL or full file path
COSHH-014 | coshh | Immersion oil and lens-cleaning solvents | MIC-01 | approved | 2026-03-02 | 2029-03-02 | Safety officer | https://intranet.example.org/coshh/COSHH-014.pdf | EXAMPLE
RA-003 | risk-assessment | Tube furnace operation | FURN-01 | approved | 2025-11-10 | 2028-11-10 | Safety officer | S:/Safety/RA-003.pdf | EXAMPLE
CAL-021 | calibration | Balance and solar simulator irradiance calibration | BAL-01; SUN-01 | approved | 2026-06-01 | 2029-06-01 |  | S:/Calibration/CAL-021.pdf | EXAMPLE
PAT-2026-A | electrical-test | PAT tests, fabrication lab | LAB-A | approved | 2026-01-15 | 2029-01-15 |  |  | EXAMPLE
RA-022 | risk-assessment | Optical radiation: solar simulator and laser | SUN-01; LAS-01 | pending | 2026-09-01 |  |  |  | EXAMPLE WARNING: not approved yet
Note on A1: Unique ID, e.g. the form's own reference number.
Note on D1: Everything it covers: equipment, benches, rooms or sockets, separated by ;. It shows on each of their pages.
Note on E1: Anything other than approved is flagged as a warning.
Note on F1: When it was filled in or last reviewed.
Note on G1: When it runs out. Past it = problem; within expiry_warning_days (settings) = warning.
Note on I1: Where the form itself lives: a web link, or a full path to a file on a shared drive.

## keep_apart
tag | away_from | distance | level | why
e.g. vibrates | e.g. vibration-sensitive | cm | dropdown
vibrates | vibration-sensitive | 100 | warning | vacuum pumps, chillers and compressors shake probe stations, balances, microscopes and optics
emits-light | needs-dark | 200 | warning | stray light from solar simulators, lasers and lamps spoils dark and low-light measurements (dark I-V, PL, EQE): keep apart, or behind curtains or in a dark box
laser | door | 150 | warning | class 3B / 4 beams away from doorways, or behind interlocked curtains
emi-source | emi-sensitive | 150 | warning | motors, RF and high-voltage supplies couple noise into low-current measurements
ignition-source | flammable | 300 | problem | hotplates, furnaces, sparks and high voltage (corona) away from solvents
flammable | oxidiser | 300 | problem | flammables and oxidisers are stored apart, or in separate cabinets
heat-source | heat-sensitive | 50 | warning | samples, gloveboxes and fridges struggle next to furnaces, hotplates and lamp housings
noisy | quiet | 200 | warning | desks and write-up areas away from pumps and compressors
Note on A1: A tag used in the tags column of the placeables sheet, or a category (laser, door...).
Note on B1: The tag it has to be kept away from.
Note on C1: Closest the two may be, edge to edge on the plan, cm.
Note on D1: problem or warning.
Note on E1: Shown in the report.

## settings
setting | value | unit | what it means
walkway_width | 60 | cm | Narrowest gap that counts as a path from a door.
reach | 30 | cm | A clear zone this close to a path counts as reachable.
person_height | 200 | cm | Clear zones on the floor are kept free up to this height.
blocks_walking_below | 150 | cm | Anything whose solid part starts lower than this is in the way when walking.
circuit_limit | 80 | % | Running load allowed on a circuit, as a share of its breaker rating.
heavy_load | 1000 | W | Peak load that puts a critical device on the same circuit at risk.
grid | 5 | cm | Raster size for walkways and bench space. Smaller is finer but slower.
expiry_warning_days | 30 | days | Warn this long before a document on the documents sheet expires.
fit_margin | 2 | cm | Slack for measuring error and ventilation: under a bench, below the ceiling, through a door.
utility_reach | 300 | cm | How far a gas, water, drain, vacuum, air, network or exhaust point may be (needs column).
sprinkler_clearance | 45 | cm | In rooms with sprinklers, nothing may reach higher than this below the ceiling.
sash_clearance | 15 | cm | Work inside a fume hood is kept at least this far behind the sash.
stock_check_days | 180 | days | Count the required spares (min_qty on the items sheet) at least this often.

## lists
category | meaning | mount | meaning | faces | meaning | shape | meaning | yesno | meaning | door | meaning | level | meaning | condition | meaning | plan | meaning | usage | meaning | usage_source | meaning | plug_type | meaning | service_type | meaning | item_category | meaning | backed | meaning | phase | meaning | doc_type | meaning | doc_status | meaning | link_type | default max_len, cm | ID prefix | used for
bench | worktop / lab bench | floor | stands on the room floor | N | front towards top of drawing | rect | w x d rectangle (default) | yes |  | left | hinged on your left as you face it | problem | something is wrong | working |  | keep | stays | daily |  | tally | tally sheet on the instrument | standard | normal wall-socket plug | outlet | wall or spine socket | tool | hand tools: clamps, saws, drivers, files | none | mains only | 1 |  | coshh | COSHH assessment | approved |  | usb | 500 | BENCH | bench / worktop
optical-table | optical table or breadboard: things stand on it | wall | fixed to a wall; needs z | NE | diagonal, top-right | circle | w = diameter | no |  | right | hinged on your right | warning | worth a look | faulty | works, with problems | relocate | moves within or between rooms | weekly |  | booking | booking system / logs | C13 | IEC C13/C14 into a PDU or UPS | strip | power strip / extension lead | consumable |  | ups | on a UPS | 3 |  | risk-assessment |  | pending | waiting for approval | usb3 | 300 | OPT | optical table / breadboard
desk | write-up or computer desk | on | on top of parent | E | towards the right | group | composed of 'part' children |  |  | both | double doors, hinged on both sides |  |  | broken | doesn't work | storage | to a store room | monthly |  | estimate | someone's guess | 16A | 16 A industrial | gas | gas tap | substrate | wafers, glass, ITO / FTO slides | generator | emergency generator |  |  | calibration | calibration certificate | draft |  | ethernet | 10000 | DESK | desk
table | free-standing table | under | beneath parent; fits its free_under | SE | diagonal, bottom-right | @corner-45 | example profile: shapes/corner-45.svg | [6 empty] | unknown |  | dispose | to be decommissioned | yearly | a few times a year |  |  | 32A | 32 A industrial | vacuum | vacuum tap | optics | lenses, filters, fibres, mirrors |  |  |  |  | electrical-test | PAT / electrical safety test | withdrawn |  | serial | 1500 | TBL | table
cabinet | cupboard; solvent, acid or gas cabinet | in | inside parent: no position (drawer), or x/y inside a fume hood | S | towards the bottom (default) | [10 empty] | decommissioned | gone: kept as a record | never | not used in the last year |  |  | 3-phase | three-phase | air | compressed air | electronics | components, connectors, probe tips |  |  |  |  | service | service or maintenance record |  |  | gpib | 200 | CAB | cabinet
shelf | wall shelf or shelving unit | part | piece of a group parent | SW | diagonal, bottom-left | [10 empty] | new | arriving, needs a spot |  |  |  |  | hardwired | no plug, wired in | water | water tap | chemical | precursors, solvents: see the COSHH forms |  |  |  |  | other |  |  |  | video | 500 | SHELF | shelf / shelving unit
drawer | drawer (mount = in) |  |  | W | towards the left | [10 empty] | undecided | [5 empty] | none | no mains power | drain | drain | glassware | [9 empty] | coax | 500 | PED | drawer pedestal
pedestal | drawer unit, often on castors |  |  | NW | diagonal, top-left | [18 empty] | network | network port | spare-part | [9 empty] | triax | 300 | BOX | box, bin, tray
container | box, bin or tray holding items | [22 empty] | exhaust | extraction point / snorkel | cable | [9 empty] | fiber | 1000 | CART | cart / trolley
cart | trolley | [22 empty] | earth | clean earth / ground point | documentation | [9 empty] | hv-cable | 300 | SMU | source-measure unit
power-supply | DC or high-voltage supply, source-measure unit (SMU) | [24 empty] | other | [9 empty] | interlock | 1000 | PSU | power supply
measurement | oscilloscope, lock-in, LCR / impedance analyser, electrometer, logger | [34 empty] | gas-line |  | SCOPE | oscilloscope
probe-station | probe station, test fixture | [34 empty] | vacuum-line | 200 | LIA | lock-in amplifier
sun-simulator | solar simulator: xenon, LED or halogen | [34 empty] | cooling-line |  | PRB | probe station
laser | laser source: note its class in notes | [34 empty] | water-line |  | SUN | solar simulator
light-source | lamp, LED or monochromator source | [34 empty] | exhaust |  | LAS | laser
spectrometer | UV-Vis, PL, EQE / IPCE, FTIR, Raman | [34 empty] | other |  | LED | LED / lamp source
microscope | optical microscope, AFM, SEM | [36 empty] | SPEC | spectrometer
dark-box | light-tight measurement enclosure | [36 empty] | EQE | EQE / IPCE system
glovebox | inert-gas glovebox: give it inner_w/d/h/z | [36 empty] | MIC | microscope
fume-hood | fume hood or extraction cabinet | [36 empty] | DARK | dark box
vacuum-chamber | evaporator, sputter coater, ALD, vacuum oven | [36 empty] | GB | glovebox
vacuum-pump | rotary, scroll or turbo pump | [36 empty] | HOOD | fume hood
corona-box | corona charging box: high voltage, ozone | [36 empty] | EVAP | evaporator
spin-coater | spin coater | [36 empty] | SPUT | sputter coater
hotplate | hotplate, stirrer | [36 empty] | VAC | vacuum pump
oven | oven, furnace, annealing | [36 empty] | COR | corona box
chiller | recirculating chiller | [36 empty] | SPIN | spin coater
instrument | any other instrument or device | [36 empty] | HP | hotplate
workshop | workshop machine or tool: 3D printer, drill, saw, grinder, soldering station | [36 empty] | OVEN | oven
computer | PC, controller | [36 empty] | FURN | furnace
monitor | screen | [36 empty] | CHIL | chiller
ups | uninterruptible power supply | [36 empty] | CRYO | cryostat
fridge | fridge: solvents, inks, samples | [36 empty] | TOOL | workshop machine or tool
freezer | freezer: precursors, samples | [36 empty] | PC | computer
gas-cylinder | gas cylinder | [36 empty] | MON | monitor
sink | sink bowl, drainer | [36 empty] | UPS | UPS
safety | eyewash, shower, extinguisher, spill kit, emergency stop | [36 empty] | FRG | fridge
structure | column, pipe boxing, radiator, electrical panel | [36 empty] | FRZ | freezer
door | door; clear_front = swing | [36 empty] | GAS | gas cylinder
window | mount = wall, z = sill height | [36 empty] | EYE | eyewash
workspace | working area that must stay clear | [36 empty] | COL | column
overhead | duct, beam, cable tray, light: mount = wall, z = underside | [36 empty] | PANEL | electrical panel
other | [37 empty] | DOOR | door
[38 empty] | WIN | window
[38 empty] | WS | workspace
[38 empty] | DUCT | duct / overhead
[38 empty] | OUT | outlet
[38 empty] | STRIP | power strip
[38 empty] | NET | network port
[38 empty] | GASTAP | gas tap
[38 empty] | EXH | extraction point
[38 empty] | EARTH | earth point
[38 empty] | X.A X.B | parts of a composed object
[38 empty] | X.D1 X.D2 | drawers, numbered from the top
[38 empty] | X.S1 X.S2 | shelves, numbered from the top
[38 empty] | I-0001 | items: just number them
Note on A1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on D1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on G1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on J1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on M1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on P1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on S1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on V1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on Y1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AB1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AE1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AH1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AK1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AN1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AQ1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AT1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AW1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on AZ1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.
Note on BC1: Dropdown source. To add a value, INSERT a row above the last entry so the dropdown range grows with it.